## variables
description | variable name | value | unit
Total electric energy | ETot.y | 22828585.3787 | kWh/a
Building terminal fans | EFanBui.y | 712169.9544 | kWh/a
Non-HVAC electric use and AHU fans | EEleNonHvaETS.y | 8853724.8563 | kWh/a
ETS pumps | EPumETS.y | 1612284.4865 | kWh/a
ETS heat pump compressor | EHeaPum.y | 5089554.3046 | kWh/a
Central plant dry cooler fan | EFanDryCoo.y | 348150.7886 | kWh/a
Central plant pumps | EPumPla.y | 546528.661 | kWh/a
Central plant heat pump compressor | EComPla.y | 3153483.3846 | kWh/a
District distribution pump | EPumDis.y | 2512688.1052 | kWh/a

## remarks
0 | 1
Model | ThermalGridJBA.Networks.Validation.DetailedPlantFiveHubs
Weather scenario | fTMY
Result file at commit | 418c50b5f58d31d87fa7d35beb31b2f020e8b66e