## Whole year
From | To | kWh
Electricity | Buildings fans + non HVAC | 9361576.0764
Electricity | Pump coo | 427117.5129
Electricity | Pump hea | 168391.5592
Electricity | Pump DHW | 1125.2977
Electricity | ETS | 4751350.9223
Electricity | Central plant chiller | 3139053.665
Electricity | Dry cooler | 36866.1858
Electricity | Pump district | 1710739.2959
Heat ambient | Dry cooler | 2925490.7403
TEN | Central plant chiller | 9626644.8508
Dry cooler | Heat ambient | 12142727.9011
Central plant chiller | TEN | 3585258.5141
Economiser | TEN | 35429.7929
Borefield | TEN | 8200189.7267
Ground | TEN | 387895.3139
ETS | Pump district | 15915196.5882
TEN | Economiser | 26792.886
TEN | Borefield | 8102663.7696
TEN | Ground | 1077311.1344
Pump district | ETS | 9204871.6227
Pump coo | ETS | 16910812.6282
ETS | Pump hea | 10057849.3822
ETS | DHW | 4864741.8032

## Winter
From | To | kWh
Electricity | Buildings fans + non HVAC | 3503781.9049
Electricity | Pump coo | 84920.0938
Electricity | Pump hea | 90141.2261
Electricity | Pump DHW | 430.6308
Electricity | ETS | 2267813.1476
Electricity | Central plant chiller | 422653.6225
Electricity | Dry cooler | 4931.455
Electricity | Pump district | 1207747.5326
Heat ambient | Dry cooler | 1635905.7618
TEN | Central plant chiller | 70234.0271
Dry cooler | Heat ambient | 82366.6577
Central plant chiller | TEN | 1992026.9641
Economiser | TEN | 125.8319
Borefield | TEN | 4575017.5731
Ground | TEN | 47415.2363
ETS | Pump district | 861997.6807
TEN | Economiser | 26790.8817
TEN | Borefield | 84840.3776
TEN | Ground | 471473.291
Pump district | ETS | 6831205.4169
Pump coo | ETS | 846872.6682
ETS | Pump hea | 7167159.2642
ETS | DHW | 2030912.6055

## Spring
From | To | kWh
Electricity | Buildings fans + non HVAC | 2503956.1791
Electricity | Pump coo | 137480.1097
Electricity | Pump hea | 36926.7597
Electricity | Pump DHW | 303.9623
Electricity | ETS | 1013317.7496
Electricity | Central plant chiller | 908304.5308
Electricity | Dry cooler | 17651.72
Electricity | Pump district | 296125.689
Heat ambient | Dry cooler | 552365.4746
TEN | Central plant chiller | 3469394.9236
Dry cooler | Heat ambient | 4327444.6122
Central plant chiller | TEN | 653863.0414
Economiser | TEN | 0
Borefield | TEN | 3050165.1617
Ground | TEN | 121357.5709
ETS | Pump district | 5093286.3961
TEN | Economiser | 0
TEN | Borefield | 3624725.6185
TEN | Ground | 394898.1216
Pump district | ETS | 1356622.6477
Pump coo | ETS | 5554871.3438
ETS | Pump hea | 1448380.3001
ETS | DHW | 1383079.4682

## Summer
From | To | kWh
Electricity | Buildings fans + non HVAC | 1936723.71
Electricity | Pump coo | 132180.9017
Electricity | Pump hea | 18712.5355
Electricity | Pump DHW | 217.6928
Electricity | ETS | 939347.7584
Electricity | Central plant chiller | 1416406.9424
Electricity | Dry cooler | 8725.3243
Electricity | Pump district | 67826.7827
Heat ambient | Dry cooler | 1.2677e-17
TEN | Central plant chiller | 4821702.5577
Dry cooler | Heat ambient | 6287948.8436
Central plant chiller | TEN | 1157.7711
Economiser | TEN | 35303.9611
Borefield | TEN | 144926.5956
Ground | TEN | 99753.4078
ETS | Pump district | 7588645.2457
TEN | Economiser | 2.0043
TEN | Borefield | 2862371.4582
TEN | Ground | 88442.5192
Pump district | ETS | 100571.0879
Pump coo | ETS | 7981668.7819
ETS | Pump hea | 460944.8797
ETS | DHW | 803143.5559

## Fall
From | To | kWh
Electricity | Buildings fans + non HVAC | 1417114.2824
Electricity | Pump coo | 72536.4077
Electricity | Pump hea | 22611.0379
Electricity | Pump DHW | 173.0118
Electricity | ETS | 530872.2666
Electricity | Central plant chiller | 391688.5693
Electricity | Dry cooler | 5557.6865
Electricity | Pump district | 139039.2916
Heat ambient | Dry cooler | 737172.1261
TEN | Central plant chiller | 1265283.0073
Dry cooler | Heat ambient | 1444917.4748
Central plant chiller | TEN | 938151.5993
Economiser | TEN | 0
Borefield | TEN | 429996.1942
Ground | TEN | 119363.3143
ETS | Pump district | 2371162.4886
TEN | Economiser | 0
TEN | Borefield | 1530687.0308
TEN | Ground | 122486.9413
Pump district | ETS | 916361.9908
Pump coo | ETS | 2527399.8344
ETS | Pump hea | 981364.9383
ETS | DHW | 647606.1737